## Sheet1
Bioagumentation Dosage Calculator
Flow | 3000 | gpm | 4.32 | mgd | Data Entry Cells are Yellow
Aeration volume | 2500000 | gals |  |  | Calculation Cells are Blue
MLSS | 3200 | mg/L | 66720 | lb
MLVSS/MLSS | 75% | If unknown, range is 60 to 85%
MLVSS | 2400 | mg/L | 50040 | lb
Bioaugmentation dose | 4 | ppm | Dosage range is 1 to 10 ppm
Bugs | 144.1152 | lb/day
Bioaugmentation dose | 2 | ppm
Bugs | 72.0576 | lb/day | Increasing these dosage
Bioaugmentation dose | 1 | ppm | rates will result in faster recovery.
Bugs | 36.0288 | lb/day
Day | Bugs, lb/day | PPM
1 | 144.1152 | 4
2 | 144.1152 | 4
3 | 144.1152 | 4
4 | 72.0576 | 2
5 | 72.0576 | 2
6 | 72.0576 | 2
7 | 72.0576 | 2
8 | 36.0288 | 1
9 | 36.0288 | 1
10 | 36.0288 | 1
11 | 36.0288 | 1
12 | 36.0288 | 1
13 | 36.0288 | 1
14 | 36.0288 | 1
Total | 972.7776 | lb
Notes: Program run time is at least two weeks. You cannot overdose but you can easily underdose.
Typical dosage program: 5 ppm x 3 days; 2 ppm x 4 days; 1 ppm x 7 days.